## Introduction
Annex 2 – Technical Parameters of the Offer
Supplier | Fill in the supplier's name
We ask you to fill in the parameter values on all subsequent worksheets of the workbook.
The last worksheet of the workbook is titled "End".
Fill in/modify only the cells marked in yellow.
The supplier is not authorized to interfere with other parts of the workbook or modify the preset functions in any way.
Parameter values must be provided in accordance with the instructions, meaning, and method of measurement specified in the text of Annex 1 to the tender documents.
Values on the printed original document are considered binding.
The values or information presented here must correspond to the information stated in the technical solution proposal, which is part of the tender.
Version 11.3. 2020

## Universal partition
| Parameter | Minimum requested value | Value | Instruction
Universal partition
| Number of nodes |  |  | Fill in the numerical value - integer
| Server model |  |  | Fill in the server model
| Number of CPUs per node | 2 |  | Fill in the numerical value - integer
| CPU model |  |  | Fill in the processor model
| CPU core count |  |  | Fill in the numerical value - integer
| CPU frequency [GHz] |  |  | Fill in the numerical value
| CPU TDP [W] |  |  | Fill in the numerical value
| CPU Rpeak in double precision [GFLOPS] |  |  | Fill in the numerical value
| Node RAM size [GiB] | 256 |  | Fill in the numerical value - integer
| Node CPUs core count |  | 0
| Node CPUs Rpeak in double precision [GFLOPS] | 4000 | 0
| Partition CPUs core count |  | 0
| Partition Rpeak in double precision, CPUs only [TFLOPS] |  | 0
| Partition RAM size [TiB] |  | 0
| Universal partition LINPACK Rmax computing performance, using CPUs only [TFLOPS] | 1935 |  | Fill in the numerical value

## Accelerated partition
| Parameter | Minimum requested value | Value | Instruction
Accelerated partition
| Number of nodes |  |  | Fill in the numerical value - integer
| Server model |  |  | Fill in the server model
| Number of CPUs per node | 2 |  | Fill in the numerical value - integer
| CPU model |  |  | Fill in the processor model
| CPU core count |  |  | Fill in the numerical value - integer
| CPU frequency [GHz] |  |  | Fill in the numerical value
| CPU TDP [W] |  |  | Fill in the numerical value
| CPU Rpeak in double precision [GFLOPS] |  |  | Fill in the numerical value
| Node RAM size [GiB] | 512 |  | Fill in the numerical value - integer
| Node CPUs core count |  | 0
| Node CPUs Rpeak in double precision [GFLOPS] | 2400 | 0
| Partition CPUs core count |  | 0
| Partition Rpeak in double precision, CPUs only [TFLOPS] |  | 0
| Partition RAM size [TiB] |  | 0
| Number of GPUs per node | 8
GPU model
| GPU Rpeak in double precision [TFLOPS] | 17
| GPU HBM size [GiB] | 40
| Accelerated partition LINPACK Rmax computing performance [TFLOPS] | 4500 |  | Fill in the numerical value

## Data analytics partition
| Parameter | Minimum requested value | Value | Instruction
Data analytics partition
| Number of nodes |  | 1
| Server model |  |  | Fill in the server model
| Number of CPUs per node | 32 |  | Fill in the numerical value - integer
| CPU model |  |  | Fill in the processor model
| CPU core count |  |  | Fill in the numerical value - integer
| CPU frequency [GHz] |  |  | Fill in the numerical value
| CPU TDP [W] |  |  | Fill in the numerical value
| CPU Rpeak in double precision [GFLOPS] |  |  | Fill in the numerical value
| Node RAM size [TiB] | 24 |  | Fill in the numerical value - integer
| Node CPUs core count |  | 0
| Node CPUs Rpeak in double precision [GFLOPS] |  | 0
| Partition CPUs core count |  | 0
| Partition Rpeak in double precision, CPUs only [TFLOPS] |  | 0
| Partition RAM size [TiB] |  | 0
| Data analytics partition LINPACK Rmax computing performance, using CPUs only [TFLOPS] | 40 |  | Fill in the numerical value

## Cloud partition
| Parameter | Minimum requested value | Value | Instruction
Cloud partition
| Number of nodes |  |  | Fill in the numerical value - integer
| Server model |  |  | Fill in the server model
| Number of CPUs per node | 2 |  | Fill in the numerical value - integer
| CPU model |  |  | Fill in the processor model
| CPU core count |  |  | Fill in the numerical value - integer
| CPU frequency [GHz] |  |  | Fill in the numerical value
| CPU TDP [W] |  |  | Fill in the numerical value
| CPU Rpeak in double precision [GFLOPS] |  |  | Fill in the numerical value
| Node RAM size [GiB] | 256 |  | Fill in the numerical value - integer
| Node CPUs core count |  | 0
| Node CPUs Rpeak in double precision [GFLOPS] | 4000 | 0
| Partition CPUs core count |  | 0
| Partition Rpeak in double precision, CPUs only [TFLOPS] |  | 0
| Partition RAM size [TiB] |  | 0
| Cloud partition LINPACK Rmax computing performance, using CPUs only [TFLOPS] | 131 |  | Fill in the numerical value

## Partitions' summary
| Parameter | Minimum requested value | Value
Partitions' summary
| Universal partition LINPACK Rmax computing performance, using CPUs only [TFLOPS] | 1935 | 0
| Accelerated partition LINPACK Rmax computing performance [TFLOPS] | 4500 | 0
| Data analytics partition LINPACK Rmax computing performance, using CPUs only [TFLOPS] | 40 | 0
| Cloud partition LINPACK Rmax computing performance, using CPUs only [TFLOPS] | 131 | 0
| The sum of LINPACK Rmax computing performance of the individual compute partitions [TFLOPS] | 8600 | 0

## Compute network
| Parameter | Minimum requested value | Value | Instruction
Compute network
Compute network technology (IB HDR, etc.)
Compute network topology

## SCRATCH storage
| Parameter | Minimum requested value | Value | Instruction
SCRATCH storage
| net available capacity on file-system level [TB] | 1000 |  | Fill in the numerical value
| long-term sustainable sequential read performance for the 1MiB block [GB/s] | 500 |  | Fill in the numerical value
| long-term sustainable sequential write performance for the 1MiB block[GB/s] | 350 |  | Fill in the numerical value
| long-term sustainable random I/O performance for the block size of 4KiB and 80%/20% read/write mode[Mega IOPs] | 5 |  | Fill in the numerical value
| storage software technology |  |  | Fill in the name

## HOME storage
| Parameter | Minimum requested value | Value | Instruction
HOME storage
| net available capacity on file-system level [TB] | 25 |  | Fill in the numerical value
| long-term sustainable sequential read performance for the 1MiB block [GB/s] | 1.2 |  | Fill in the numerical value
| long-term sustainable sequential write performance for the 1MiB block[GB/s] | 1.2 |  | Fill in the numerical value
| long-term sustainable random I/O performance for the block size of 4KiB and 80%/20% read/write mode[IOPs] | 7000 |  | Fill in the numerical value
| storage software technology |  |  | Fill in the name

## INFRA storage
| Parameter | Minimum requested value | Value | Instruction
INFRA storage
| net available capacity on file-system level [TB] | 25 |  | Fill in the numerical value
| long-term sustainable sequential read performance for the 1MiB block [GB/s] | 1.2 |  | Fill in the numerical value
| long-term sustainable sequential write performance for the 1MiB block[GB/s] | 1.2 |  | Fill in the numerical value
| long-term sustainable random I/O performance for the block size of 4KiB and 80%/20% read/write mode[IOPs] | 7000 |  | Fill in the numerical value
| storage software technology |  |  | Fill in the name

## Servers
| Parameter | Minimum requested value | Value | Instruction
Servers
| number of Login nodes | 4 |  | Fill in the numerical value - integer
| number of Visualization nodes | 2 |  | Fill in the numerical value - integer
| number of Data management nodes | 2 |  | Fill in the numerical value - integer
| number of PROJECT Network Gateways | 4 |  | Fill in the numerical value - integer
| number of Infrastructure nodes |  |  | Fill in the numerical value - integer
| number of physical servers - Infrastructure nodes |  |  | Fill in the numerical value - integer
| number of physical servers - Storages (excl. PROJECT storage) |  |  | Fill in the numerical value - integer
| number of physical servers - Backup |  |  | Fill in the numerical value - integer

## Backup
| Parameter | Minimum requested value | Value | Instruction
Backup
| backup disk storage net available capacity [TB] |  |  | Fill in the numerical value
| expected backup capacity taking into account specific features of the solution (compression, deduplication) [TB] |  |  | Fill in the numerical value

## Software
| Parameter | Value | Instruction
Software
| OS - Compute nodes |  | Fill in the name of software
| OS - Login nodes |  | Fill in the name of software
| OS - Visualization nodes |  | Fill in the name of software
| OS - Data management nodes |  | Fill in the name of software
| OS - Infrastructure nodes |  | Fill in the name of software
| Remote visualization software |  | Fill in the name of software
| Backup Software |  | Fill in the name of software
| Scheduler |  | Fill in the name of software

## Integration into DC
| Parameter | Requested value | Value | Instruction
Placement
| total weight of installed devices [t] |  |  | Fill in the numerical value
Cooling
| Universal partition uses the hot water cooling circuits (TV1 and TV2) as prevailing source of cooling and uses direct liquid cooling. Universal partition is fully operational with primary hot cooling circuits temperature set at any value in range of 30°C to 32°C. | yes |  | Fill in whether the requirement is met (yes or no).
| Accelerated partition uses the hot water cooling circuits (TV1 and TV2) as prevailing source of cooling. Accelerated partition is fully operational with primary hot cooling circuits temperature set at any value in range of 30°C to 32°C. |  |  | Fill in whether the requirement is met (yes or no).
Power
| maximum electrical input [kVA] |  |  | Fill in the numerical value
| expected average electrical input for maximal compute load [kVA] |  |  | Fill in the numerical value

## Compliance
| Parameter |  | Value
Compliance with the requirements of the tender dossier
Please, state that the offered solution is in accordance with the requirements of the tender dossier.
Technical requirements specification for EURO_IT4I system
| SPEC_1 | yes
| SPEC_2 | yes
| SPEC_3 | yes
| SPEC_4 | yes
| SPEC_5 | yes
| SPEC_6 | yes
| SPEC_7 | yes
| SPEC_8 | yes
| SPEC_9 | yes
| SPEC_10 | yes
| SPEC_11 | yes
| SPEC_12 | yes
| SPEC_13 | yes
| SPEC_14 | yes
| SPEC_15 | yes
| SPEC_16 | yes
| SPEC_17 | yes
| SPEC_18 | yes
| SPEC_19 | yes
| SPEC_20 | yes
| SPEC_21 | yes
| SPEC_22 | yes
| SPEC_23 | yes
| SPEC_24 | yes
| SPEC_25 | yes
| SPEC_26 | yes
| SPEC_27 | yes
| SPEC_28 | yes
| SPEC_29 | yes
| SPEC_30 | yes
| SPEC_31 | yes
| SPEC_32 | yes
| SPEC_33 | yes
| SPEC_34 | yes
| SPEC_35 | yes
| SPEC_36 | yes
| SPEC_37 | yes
| SPEC_38 | yes
| SPEC_39 | yes
| SPEC_40 | yes
| SPEC_41 | yes
| SPEC_42 | yes
| SPEC_43 | yes
| SPEC_44 | yes
| SPEC_45 | yes
| SPEC_46 | yes
| SPEC_47 | yes
| SPEC_48 | yes
| SPEC_49 | yes
| SPEC_50 | yes
| SPEC_51 | yes
| SPEC_52 | yes
| SPEC_53 | yes
| SPEC_54 | yes
| SPEC_55 | yes
| SPEC_56 | yes
| SPEC_57 | yes
| SPEC_58 | yes
| SPEC_59 | yes
| SPEC_60 | yes
| SPEC_61 | yes
| SPEC_62 | yes
| SPEC_63 | yes
| SPEC_64 | yes
| SPEC_65 | yes
| SPEC_66 | yes
| SPEC_67 | yes
| SPEC_68 | yes
| SPEC_69 | yes
| SPEC_70 | yes
| SPEC_71 | yes
| SPEC_72 | yes
| SPEC_73 | yes
| SPEC_74 | yes
| SPEC_75 | yes
| SPEC_76 | yes
| SPEC_77 | yes
| SPEC_78 | yes
| SPEC_79 | yes
| SPEC_80 | yes
| SPEC_81 | yes
| SPEC_82 | yes
| SPEC_83 | yes
| SPEC_84 | yes
| SPEC_85 | yes
| SPEC_86 | yes
| SPEC_87 | yes
| SPEC_88 | yes
| SPEC_89 | yes
| SPEC_90 | yes
| SPEC_91 | yes
| SPEC_92 | yes
| SPEC_93 | yes
| SPEC_94 | yes
| SPEC_95 | yes
| SPEC_96 | yes
| SPEC_97 | yes
| SPEC_98 | yes
| SPEC_99 | yes
| SPEC_100 | yes
| SPEC_101 | yes
| SPEC_102 | yes
| SPEC_103 | yes
| SPEC_104 | yes
| SPEC_105 | yes
| SPEC_106 | yes
| SPEC_107 | yes
| SPEC_108 | yes
| SPEC_109 | yes
| SPEC_110 | yes
| SPEC_111 | yes
| SPEC_112 | yes
| SPEC_113 | yes
| SPEC_114 | yes
| SPEC_115 | yes
| SPEC_116 | yes
| SPEC_117 | yes
| SPEC_118 | yes
| SPEC_119 | yes
| SPEC_120 | yes
| SPEC_121 | yes
| SPEC_122 | yes
| SPEC_123 | yes
| SPEC_124 | yes
| SPEC_125 | yes
| SPEC_126 | yes
| SPEC_127 | yes
| SPEC_128 | yes
| SPEC_129 | yes
| SPEC_130 | yes
| SPEC_131 | yes
| SPEC_132 | yes
| SPEC_133 | yes
| SPEC_134 | yes
| SPEC_135 | yes
| SPEC_136 | yes
| SPEC_137 | yes
| SPEC_138 | yes
| SPEC_139 | yes
| SPEC_140 | yes
| SPEC_141 | yes
| SPEC_142 | yes
| SPEC_143 | yes
| SPEC_144 | yes
| SPEC_145 | yes
| SPEC_146 | yes
| SPEC_147 | yes
| SPEC_148 | yes
| SPEC_149 | yes
| SPEC_150 | yes
| SPEC_151 | yes
| SPEC_152 | yes
| SPEC_153 | yes
| SPEC_154 | yes
| SPEC_155 | yes
| SPEC_156 | yes
| SPEC_157 | yes
| SPEC_158 | yes
| SPEC_159 | yes
| SPEC_160 | yes
| SPEC_161 | yes
| SPEC_162 | yes
| SPEC_163 | yes
| SPEC_164 | yes
| SPEC_165 | yes
| SPEC_166 | yes
| SPEC_167 | yes
| SPEC_168 | yes
| SPEC_169 | yes
| SPEC_170 | yes
| SPEC_171 | yes
| SPEC_172 | yes
| SPEC_173 | yes
| SPEC_174 | yes
| SPEC_175 | yes
| SPEC_176 | yes
| SPEC_177 | yes
| SPEC_178 | yes
| SPEC_179 | yes
| SPEC_180 | yes
| SPEC_181 | yes
| SPEC_182 | yes
| SPEC_183 | yes
| SPEC_184 | yes
| SPEC_185 | yes
| SPEC_186 | yes
| SPEC_187 | yes
| SPEC_188 | yes
| SPEC_189 | yes
| SPEC_190 | yes
| SPEC_191 | yes
| SPEC_192 | yes
| SPEC_193 | yes
| SPEC_194 | yes
| SPEC_195 | yes
| SPEC_196 | yes
| SPEC_197 | yes
| SPEC_198 | yes
| SPEC_199 | yes
| SPEC_200 | yes
| SPEC_201 | yes
| SPEC_202 | yes
| SPEC_203 | yes
| SPEC_204 | yes
| SPEC_205 | yes
| SPEC_206 | yes
| SPEC_207 | yes
| SPEC_208 | yes
| SPEC_209 | yes
| SPEC_210 | yes
| SPEC_211 | yes
| SPEC_212 | yes
| SPEC_213 | yes
| SPEC_214 | yes
| SPEC_215 | yes
| SPEC_216 | yes
| SPEC_217 | yes
| SPEC_218 | yes
| SPEC_219 | yes
| SPEC_220 | yes
| SPEC_221 | yes
| SPEC_222 | yes
| SPEC_223 | yes
| SPEC_224 | yes
| SPEC_225 | yes
| SPEC_226 | yes
| SPEC_227 | yes
| SPEC_228 | yes
| SPEC_229 | yes
| SPEC_230 | yes
| SPEC_231 | yes
| SPEC_232 | yes
| SPEC_233 | yes
| SPEC_234 | yes
| SPEC_235 | yes
| SPEC_236 | yes
| SPEC_237 | yes
| SPEC_238 | yes
| SPEC_239 | yes
| SPEC_240 | yes
| SPEC_241 | yes
| SPEC_242 | yes
| SPEC_243 | yes
| SPEC_244 | yes
| SPEC_245 | yes
| SPEC_246 | yes
| SPEC_247 | yes
| SPEC_248 | yes
| SPEC_249 | yes
| SPEC_250 | yes
| SPEC_251 | yes
| SPEC_252 | yes
| SPEC_253 | yes
| SPEC_254 | yes
| SPEC_255 | yes
| SPEC_256 | yes
| SPEC_257 | yes
| SPEC_258 | yes
| SPEC_259 | yes
| SPEC_260 | yes
| SPEC_261 | yes
| SPEC_262 | yes
| SPEC_263 | yes
| SPEC_264 | yes
| SPEC_265 | yes
| SPEC_266 | yes
| SPEC_267 | yes
| SPEC_268 | yes
| SPEC_269 | yes
| SPEC_270 | yes
| SPEC_271 | yes
| SPEC_272 | yes
| SPEC_273 | yes
| SPEC_274 | yes
| SPEC_275 | yes
| SPEC_276 | yes
| SPEC_277 | yes
| SPEC_278 | yes
| SPEC_279 | yes
| SPEC_280 | yes
| SPEC_281 | yes
| SPEC_282 | yes
| SPEC_283 | yes
| SPEC_284 | yes
| SPEC_285 | yes
| SPEC_286 | yes
| SPEC_287 | yes
| SPEC_288 | yes
| SPEC_289 | yes
| SPEC_290 | yes
| SPEC_291 | yes
| SPEC_292 | yes
| SPEC_293 | yes
| SPEC_294 | yes
| SPEC_295 | yes
| SPEC_296 | yes
| SPEC_297 | yes
| SPEC_298 | yes
| SPEC_299 | yes
| SPEC_300 | yes
| SPEC_301 | yes
| SPEC_302 | yes
| SPEC_303 | yes
| SPEC_304 | yes
| SPEC_305 | yes
| SPEC_306 | yes
| SPEC_307 | yes
| SPEC_308 | yes
| SPEC_309 | yes
| SPEC_310 | yes
| SPEC_311 | yes
| SPEC_312 | yes
| SPEC_313 | yes
| SPEC_314 | yes
| SPEC_315 | yes
| SPEC_316 | yes
| SPEC_317 | yes
| SPEC_318 | yes
| SPEC_319 | yes
| SPEC_320 | yes
| SPEC_321 | yes
| SPEC_322 | yes
| SPEC_323 | yes
| SPEC_324 | yes
| SPEC_325 | yes
| SPEC_326 | yes
| SPEC_327 | yes
| SPEC_328 | yes
| SPEC_329 | yes
| SPEC_330 | yes
| SPEC_331 | yes
| SPEC_332 | yes
| SPEC_333 | yes
| SPEC_334 | yes
| SPEC_335 | yes
| SPEC_336 | yes
| SPEC_337 | yes
| SPEC_338 | yes
| SPEC_339 | yes
| SPEC_340 | yes
| SPEC_341 | yes
| SPEC_342 | yes
| SPEC_343 | yes
| SPEC_344 | yes
| SPEC_345 | yes
| SPEC_346 | yes
| SPEC_347 | yes
| SPEC_348 | yes
| SPEC_349 | yes
| SPEC_350 | yes
| SPEC_351 | yes
| SPEC_352 | yes
| SPEC_353 | yes
| SPEC_354 | yes
| SPEC_355 | yes
| SPEC_356 | yes
| SPEC_357 | yes
| SPEC_358 | yes
| SPEC_359 | yes
| SPEC_360 | yes
| SPEC_361 | yes
| SPEC_362 | yes
| SPEC_363 | yes

## End
The end of the document